SUNY DOWNSTATE MEDICAL CENTER

UNIVERSITY HOSPITAL OF BROOKLYN

POLICY AND PROCEDURE

No:        	LAB - 23

Subject:     	POINT OF CARE TESTING POLICY	               Page 	  1	 of   	5

(POC)

Prepared by:  	Alix Laguerre					Original Issue Date: 	     5/00

# Reviewed by:	Maria I. Mendez				Supersedes Date:           11/02 ____

Peter J. Howanitz, MD____________		Approval Date:             09/03______

Approved by:  	John Fallon, MD          			Distribution:    ☒Administrative Manual

☒Department Manual

Robert Jacobs, MD 					            ☒Patient Care Manual

☒AOD Manual

Anny Yeung, RN, MPA

Issued by:         Regulatory Affairs

_______________________________________________________________________________________

I.	PURPOSE:

To ensure that all testing to be performed at or near a patient’s bedside, with a Point of Care testing device, is performed accurately and that all applicable regulatory standards are followed.

II.	DEFINITION(S):

- Point of Care refers to those analytical patient-testing activities provided within the institution, but performed outside the physical facilities of the clinical laboratories.  The central criterion of POC testing is that it does not require permanent dedicated space.

- POC = Point of Care; ABG = Arterial Blood Gas; ACT = Activated Clotting Time;

HCG = Human Chronic Gonadotropin

- Waived – a sub classification of Point-of-care tests namely glucose, urine pregnancy, and occult blood as defined under CLIA (Clinical Laboratory Improvement Act of 1988)

- Non-Waived – POC tests are identified in levels of complexity under CLIA –88 and include ABG, Electrolytes and ACT test at UHB.

- CLIA-88 – Clinical Laboratory Improvement Amendment of 1988

- POLICY:

    - All Point-of-Care testing inclusive of waived and non-waived tests must be performed under the guidance of the Clinical Laboratory.  The Laboratory Director or his/her designee will provide oversight in the areas of quality control, performance improvement, training, competency, interpretation and record keeping.

    - Only authorization testing personnel may perform tests after completion of training and demonstration of competency.

    - Request for performing Point of Care Testing must be approved by the Laboratory Director and must be justified based on the need for the clinical information in a time frame appropriate to influence patient care decisions.

    - Quality control must be performed prior to release of patient results.  Test authorization by the Laboratory Director may be withdrawn from a Patient Care Unit when QC compliance does not meet required standards.

IV.	Responsibilities:

The following table reflects personnel authorized to perform point of care testing within the following areas: Nursing, Pharmacy, Ambulatory Services, Respiratory therapy, Emergency Department and Pathology.  The Point of Care tests performed at SUNY Downstate Medical Center personnel in compliance with the New York State Department of Health, College of American Pathologist, and Joint Commission for the Accreditation of Hospital Organization and as approved by the hospital.

| ##### Point of Care Test | ##### Authorized Persons |
| --- | --- |
| Fecal Occult Blood | MD, RN, LPN, CNA, MT |
| Urine Pregnancy (Quidel Quick VNE Urine hCG) | MD, RN, LPN, CNA, MT |
| I-STAT System ABG, Electrolytes, hematocrit, ACT | MD, RN, Perfusionist, RCP, Operating Room CVT, MT, RT |
| Whole Blood Glucose | MD, RN, Perfusionist, RCP, Operating Room CVT, MT |
| Blood Gas | RT, MT |
| Urinalysis Dipstick | MD, RN, LPN, CNA, MT |

V.	Procedures/Guidelines:

###### Authorization for Point of Care Testing

  - Point of Care testing in patient areas and the method used in the testing requires review by the Laboratory Director or his designee prior to implementation.

  - The Clinical Laboratory staff will assist in the evaluation of methods and instrumentation and will work with the Directors of the Patient Care Services of each area where Point of Care testing is performed in the Development of a test protocol, training guidelines and record keeping systems.

  - There will be a physician order for the test placed through the Cerner Laboratory Information System.

  - Requests for Point of Care testing are reviewed by the department of pathology upon receiving the completed “Point of Care” testing request form.

(see attachment G)

- Testing Protocol

  - In general, non-waived point of care testing will be considered definitive for the purpose of care and treatment of patients.  However, the practitioner caring will determine final determination of the extent to which Point of Care testing is used in the care of patients for the patient based on established laboratory protocols.  Verification of test results can be made at any time by sending a sample to the clinical laboratory for analysis.

  - In each area where patient Point of Care testing is performed the Nursing Supervisors or Designee will determine and identify those staff members who will perform testing and those who will direct or supervise testing.

  - Members of the Clinical Laboratory staff will assist in the development of the test procedure.  The procedure must include the following:

    - Principal

    - Specimen requirements and collection

    - Instrument Calibration (if applicable)

    - Quality Control requirements and remedial action instruments

    - Equipment performance evaluation

    - Procedure – stepwise

    - Reference Ranges, Result interpretation and remedial action

    - Test ordering and result reporting in Cerner LIS

    - Record keeping

    - References – see attached protocols for each POC test

- Personnel Training

  - Authorized staff that has been certified to perform the specific test may only perform Point of Care testing.

  - The director or designee, working with the Institute of Continuous Learning is responsible for assigning trainer, for coordinating and documenting the training competency and for ensuring that only properly trained staff members perform the test.

  - The Clinical Laboratory will develop the training guidelines and train the trainers.

  - The training requirements will be tailored to the test procedures used in each patient are.

  - A current list of the personnel certified to perform the waived tests must be maintained in the patient care unit and a current copy must be sent to the laboratory.  The certification list must include documentation of the annual recertification.

  - The testing personnel must be assessed annually for competence.  This can be accomplished by direct observation of total technique from specimen collection through analysis ad reporting, or ongoing review of quality control performed by testers or any similar recertification process.  Testing personnel are required to perform and complete proficiency test according to the standards established by the College of American Pathologist, New York State Department of Health and The Joint Commission for the Accreditation of Hospitals Organization.

- Testing Performance

  - Patient identification, preparation and testing must be performed in strict accordance with the test procedures.

  - Test results are acceptable only if all control criteria are met.

  - Test results must be entered in the Center Laboratory Information System or recorded in a supplementary logbook if the Cerner LIS is down.

  - The Nurse Manager of designee will be responsible for the direct supervision of all Point of Care testing in the unit and for the review of quality control records on a daily basis.

  - Test verification can be achieved by sending an order and sample to the clinical laboratory for analysis, when necessary.

- Record Keeping

  - Record must be kept for a minimum of two years to enable the tracking of numbers, expiration dates and, if applicable, instrument performance.

  - Logbooks must include test name, method/instrument ID, if applicable, reagent and QC lot numbers, expiration dates and patient identification (name and MR#), date test performed and initials of tester.

  - The individual performing the test is responsible for proper documentation of the quality control, patient information and test results. The Clinical Laboratory will review the quality control on a regular basis.

  - Logbooks containing QC data must be retained for two years within each Point of Care testing area. Logbooks containing instrument maintenance and/or troubleshooting records must be retained with the instrument for the life of instrument.

- Safety

  - Laboratory testing involves potential exposure to blood and body fluids.  Therefore, universal precautions, as defined in the Infection Control Manuals, must be followed.

  - The individual performing the test is responsible for using the appropriate personal protective equipment and work practices as defined in the test procedure for safe handling of patient samples and the proper disposal of the waste generated, i.e., used strip, kit, reagent, etc.

- Compliance

  - Failure to meet the above standards by a testing individual will deem the individual unauthorized to perform testing and will require recertification of the individual.

  - Compliance reports will be presented and discussed during the monthly Laboratory Performance Improvement.  Meetings and other interdisciplinary performance forums.

VI.	Reasons for Revision:

☐Changes in regulatory or statutory laws or standards

☐System failures/changes

☒Institutional/operational changes

VII.	Attachments:	Point of Care

- Lab 23A – Blood Glucose Monitoring

- Lab 23B – Point of Care Quidel Quick VNE One – Step Urine HCG

- Lab 23C – Point of Care Testing for Fecal occult Blood

- Lab 23D – Point of Care Blood Gas, Electrolyte and Hematocrit Analysis using the I-STAT System

- Lab 23 E – Point of Care Protocol ACT

- Lab 23 F – Point of Care Protocol – Arterial Gases

- Lab 23G – POC Protocol - Urinalysis

- Point of Care Testing Request Form

VIII.	References:	CLIA –88, CAP Laboratory Standards Program 2001; JCAHO Standards 2001,

NYSDOH Laboratory Standards Sept. 2000

| #### Date Reviewed | #### Revision | Required (Circle One) | #### Responsible Staff Name and Title |
| --- | --- | --- | --- |
| 09/03 | # Yes | #### No | Alix Laguerre, Laboratory Administrator |
|  | #### Yes | No |  |
|  | Yes | No |  |
|  | Yes | No |  |