SUNY DOWNSTATE MEDICAL CENTER

UNIVERSITY HOSPITAL OF BROOKLYN

POLICY AND PROCEDURE

Page 	  1	 of   	14

Subject:	HIV Counseling and Testing in Star              		No:    LAB 23-H Assessment of

Health Center__                                                       	         Patients

Original Issue Date: 	   11/21/91

Prepared by:    Khaled Abulawi, PhD

# Ellen Honey, LMSW                            	Supersedes: 	              8/26/04_____

Approval Date:	              _11/05     ___

Reviewed by:   Javashree Ravishankar, MD _______

Alix Laguerre, MS    		_______

Jeronimo Belgrave, MT	______ 	Distribution:      Administrative Manual

Patricia DiFusco, RN, BSN________				☒ Department Manual

 Patient Care Manual

 AOD Manual

## Approved by:  Peter J. Howanitz, MD__________

## Jack DeHovitz, MD                             		Issued by:     STAR Program/Lab Services

- Purpose:

To provide confidential HIV antibody testing in a manner that is sensitive to patient needs and consistent with New York State Department of Health Guidelines.

- Definition(s):

- Star Health Center is an ambulatory HIV clinic at University Hospital of   Brooklyn

Enzyme Immunoassay (EIA):

Antibodies are found in serum that has been separated from the red blood cells. During an EIA test, this serum is placed in a tiny well containing a plastic bead coated with the proteins of HIV. Among these proteins are antigens. If there are any HIV antibodies in the serum, they will bind to the HIV antigens on the bead. An indicating substance is then added which will turn yellow if any binding has taken place.

Western Blot:

In this test, the proteins of HIV are laid out vertically, from largest to smallest, on a strip of film. Serum is added and any existing HIV antibodies will bind to the HIV antigens. A detection enzyme is then added, which latches on to the antibodies. Finally, a chemical is added that changes color when it comes into contact with the protein-antibody-enzyme layers. This multi-layer process is similar to that of the EIA test. However, the final result is a unique series of shaded bands.

OraQuick® ADVANCE Rapid Testing:

The OraQuick® ADVANCE rapid HIV-1/2 Antibody Test is a single-use, qualitative, immunoassay to detect antibodies to Human immunodeficiency Virus Type 1 (HIV-1) and Type 2 (HIV-2) in oral fluid, fingerstick whole blood, venipuncture whole blood and plasma specimens.

Policy:

STAR Health Center provides confidential HIV antibody testing to the Brooklyn community. Testing and counseling is available in the STAR Health Center by appointment, Monday through Friday, by calling (718) 270-3745.

- Responsibilities (Include all departments/services involved in development/implementation and/or monitoring):

The STAR Health Center Medical Director is responsible for supervising and directing HIV counseling and testing activity. Testing in the STAR Health Center is the responsibility of Nursing Services.

- Procedure/Guidelines:

  - Pretest Counseling

Pretest counseling is done in accordance with Article 27-F of the New York State Public Health Law and the NYS DOH 2005 Guidance for HIV Counseling and Testing and New Laboratory Reporting Requirements.  Pre-test counseling will generally be conducted face-to-face, however, in accordance with the 2005 guidance, patients may be given the consent form to read on their own, and briefly reviewed with staff after reading. Audiovisual materials may also be used to convey pre-test counseling messages. Component of the pre-test counseling include the following:

- the nature of HIV, HIV-related illness and AIDS;

- explanation of the HIV test, including information about the procedure and the meaning of test results, and nature of preliminary results to client.

- testing options, including confidential and anonymous testing

- benefits of testing, including preventing transmission, early diagnosis and medical intervention;

- importance of testing for pregnant women;

- confidentiality of results and legal protections against such discrimination, including the phone number for the NYSDOH HIV Confidentiality Hotline (800-962-5065) and the New York State Division of Human Rights (800-523-2437);law requiring HIV/AIDS cases to be reported by name;

- contact/partner notification requirements;

  - Consent to Testing

Article 27-F requires that before any HIV test is ordered or performed, the individual to be tested must sign a written consent form that specifically authorizes the HIV test.  Written consent must be executed on a consent form developed by the New York City Department of Health, available in English, French and Spanish.

    - The counselor must determine that the client has the capacity to consent, by asking two questions:

- Is this person able to understand and appreciate the nature and consequences of undergoing an HIV test?

- Is (s)he able to make an informed decision about whether to be tested?

If the answer to both of these questions is YES, then the individual has  capacity to consent.  If the answer to either of these questions is NO or DOUBTBUL, then the counselor must either:

      - defer or decide against testing the individual;

      - determine whether or not the person has been judicially declared incompetent and identify if another person is legally authorized to consent to health care for the individual, and contact the person for counseling and consent purposes.

    - If a patient has expressed that he/she will commit suicide with a positive result, the counselor should defer testing at that session and refer the patient to the STAR Program Mental Health Program for intervention.

    - If informed consent cannot be given, risk reduction is stressed and appropriate referrals are made for follow-up services.

    - The counselor explains why testing could not be done at the time of pretest counseling and the conditions that need to be met for testing to be provided at a follow-up appointment.

    - If the client could give informed consent at another time, a follow-up appointment will be made for that client.

    - The counselor completes the STAR Program Counseling and Testing form and submits the white original copy of the form to STAR Program Information  Services.  All copies of paperwork are kept in a locked file cabinet.

  - HIV Antibody Testing

Clients may be tested in the STAR Program via venipuncture, OraSure® or OraQuick® ADVANCE Rapid Testing.  In general, testing will be conducted as follows:  For routine testing in the SHC, venipuncture will be used to collect blood for EIA and Western Blot testing.  For special events on-site at SUNY-DMC, i.e. HIV Testing Day and World AIDS Day, OraQuick® Rapid Testing will be used.  For community-based events, OraSure® testing will be done.

- Venipuncture

The SUNY Downstate Medical Center Virology Lab is certified by New York State to perform EIA tests and Western Blot tests for HIV on blood-drawn clients.

- Following pre-test counseling, the counselor enters all test orders into the electronic laboratory record system, CERNER, to facilitate the tracking of orders.

- The counselor directs the client to the Outpatient Laboratory Department for blood drawing and provides the client with barcode labels for the specimen.

- OraQuick® ADVANCE Rapid Testing (using fingerstick whole blood)

Prior to conducting OraQuick® rapid testing, SHC nursing staff will ensure that external control has been run according to the manufacturer's instructions, and, provided control results are as expected, will record the results. Corrective action shall be taken, pursuant to a pre-established plan, until expected control results are generated. If control results are not generated within two tries, OraQuick® testing must stop. Nursing staff will then use the venipuncture method of testing.  If expected results for controls have been generated and recorded, each staff member conducting a rapid test will follow the procedure delineated below:

- Ensure storage temperature requirements for testing are met:

- Test devices will be stored in a locked cupboard in the Nurse Manager’s Office.  A thermometer will be placed in this area and on a daily basis checked (acceptable range 35 to 80° F). The temperature will be recorded on the OraQuick® Kits Storage Temperature Log by SHC nursing staff each day testing is performed. Corrective action will include adjustment to environmental conditions (heat/air conditioner). If storage temperature falls out of range, an external control will be performed on the supply to ensure product quality.

- Test controls will be stored in the SHC refrigerator located in locked cabinet in the Nurse Manager’s Office. To ensure the temperature is within the limits of the acceptable range of 35 to 46° F, a daily reading of the thermometer inside the refrigerator will be documented in the OraQuick® Controls Temperature Log daily.

- The controls, device and developer solution, once removed from the refrigerator, have come to room temperature between 59° F and 80° F before opening and using.

Note:  In the event temperatures fall outside of the specified range, testing will cease, the Nurse Manager will be notified and corrective action will be taken.

- Establish test area readiness:

- To ensure lighting will be acceptable for testing, direct observation will provide information for corrective action, include providing additional lamps, and adjustment to natural light (blinds, curtains) appropriately.

- To ensure temperature ranges are maintained to meet the requirements, a thermometer will be placed in the testing room and prior to conducting testing, SHC staff will record temperatures in the OraQuick Testing Room Temperature Log. If temperatures fall outside of the 59 to 80° F range, testing will cease and adjustment to the environment (heat/air conditioning) will be made accordingly.

- Appropriate space and a flat surface will be available in exam room where testing is performed. Hand washing facilities are located in every exam room of the health center.

- Staff will utilize the OraQuick Rapid Testing Checklist for Clinic Room Set-Up to ensure that all testing supplies and paperwork are available for the testing session.

- Run Kit Controls

SHC Nursing staff will run kit controls under the following circumstances:

- Each new operator prior to performing testing on patient specimens

- Every day before a test is done

- When opening a new test kit lot;

- Whenever a new shipment of test kits is received;

- If the temperature of the test kit storage area falls outside of 2°-27° C (35°-80° F);

- If the temperature of the testing area falls outside of 15°-37° C (59°-99° F)

- When controls are run, staff will complete the OraQuick® ADVANCE Control Results Log

- Set up work space using the Rapid Testing Checklist for Clinic Room Set-Up

- If necessary, allow the test kit to  come to operating temperature of 15°-37° C (59°-99° F)

- Cover workspace with clean, disposable, absorbent workspace cover (Chux pads may be used)

- Set an OraQuick® ADVANCE test stand and timer up on workspace cover.

- Put on disposable gloves.

- Conduct rapid testing

- Provide the OraQuick® ADVANCE Subject Information brochure to each person being tested.

- Label test device components

- Open the two chambers of the OraQuick® ADVANCE Divided Pouch by tearing at the notches on the top of each side of the pouch (leave test device in pouch until ready to use). Remove the developer solution from the pouch, carefully remove cap from vial, and set cap on the workspace cover. Slide the vial into the top of one of the slots of the stand.

- Using an antiseptic wipe/alcohol pad, clean the finger of the person being tested.  Allow the finger to dry thoroughly or wipe dry with a sterile gauze pad.

- Using a sterile lancet, puncture the skin just of the center of the finger pad.

- Hold the finger downward.  Apply gentle pressure beside the point of the puncture.  Avoid squeezing the finger to make it bleed.

- Wipe away the first drop of blood with a sterile gauze pad.  Allow a new drop of blood to form.

- Pick up an unused Specimen Collection Loop by the thick “handle” end.

- Put the “rounded end fo the Loop on the drop of blood, and make sure that the Loop is completely filled with blood.

- Place loop collection device into vial, mix and check for "pink" color in solution.

- Sispose of lancet and other bio-hazardous waste in red container.

- Remove the testing device from the pouch.  DO NOT touch the flat pad.

- Check to make sure that the absorbent packet is included with the device.  If it is not included, discard and obtain a new pouch.

- Insert test device at the way into the vial, set timer, and read result when 20 minutes (not more than 40 minutes) are indicated.

- Record results on the OraQuick® ADVANCE Rapid Test Resluts Log.

- If positive, collect specimen via venipuncture for confirmatory testing

  - Post-test Counseling

- When venipuncture or OraSure® are used, patients are required to return to obtain test results in person.

- When rapid testing is done, results are given immediately after the 20 minute processing time.  When the result is positive, preliminary results are given to the client, post-test counseling is conducted, and blood is drawn for Western Blot confirmation.  An appointment for HIV care in the STAR Health Center is given to the client, at which time the confirmatory results are also provided to the client.

- Results will be given at STAR Health Center or at a community-based organization with which EPAR has made arrangements to conduct HIV counseling and testing.

- When possible, the post-test counseling will be done by the HIV counselor who did pre-test counseling. In the event that the pre-test counselor is out, every attempt must be made to contact the client and offer the option of either re-scheduling the appointment or receiving post-test counseling from another counselor.

- Post-test counseling is done in accordance with the New York State Public Health Law and the New York State AIDS Institute guidelines to include:

Positive HIV Antibody Test Result:

- Reinforce information given during pre-test counseling session (described above):

- Reiterate the importance of early intervention services (EIS) including medical and psychosocial services;

- Help client identify EIS, according to the client's preferences, and provide referral to these services;

- Address that the reporting of cases of HIV infection is required by law to help monitor epidemic;

- Discuss perinatal transmission

- Discuss Contact/Partner Notification

- Perform suicide and homicide assessment.

- Review available support systems.

- Conduct Domestic Violence Screening (described below)

- A patient who does not return for his/her result, is contacted to reschedule the post-test counseling session.

- If no phone number is available, a letter, followed by a telegram, is sent asking the person to come in for post-test counseling.

- Contact efforts continue either until successful contact is achieved or until there is clear and convincing reason to believe that the client is unreachable.

- Within thirty days of the initial diagnosis, the counselor must complete and mail the Department Health Medical Provider HIV/AIDS and Partner/Contact Report Form.

- The counselor must also complete the post-test section of the STAR Program Counseling and Testing form.

Negative HIV Antibody Test Result:

- Reinforce information given during pre-test counseling session:

- HIV risk assessment and how to reduce the risk of contracting HIV;

- HIV test accuracy and reliability;

- Meaning and significance of a negative HIV test result; and

- Appropriateness of repeat antibody testing.

Indeterminate HIV Antibody Test Result:

- Discuss meaning of test results; encourage retesting;

2.	Discuss availability of appropriate medical follow-up;

3.	Reinforce personal risk reduction strategies.

# Domestic Violence Screening

Screening of protected individuals (i.e., individuals who are HIV-infected) and their partners/contacts for risk of domestic violence related to HIV partner notification is a required component of posttest counseling for an HIV-infected individual and of notification of partners/contacts. This screening takes place within an overall context which recognizes the intersection between risk of domestic violence and risk of HIV/AIDS. Recognition of domestic violence concerns can inform and improve HIV prevention efforts, including strategies for HIV counseling, testing, referral and partner notification/partner assistance services. Domestic violence risk assessment is a standard of practice within counseling, testing, referral and partner notification services in New York State.

1.	Discuss domestic violence in posttest counseling before partner names are elicited.

- Assure that a private, safe and confidential discussion can occur.

- Remain sensitive to special needs and considerations of especially vulnerable individuals (e.g., minors, pregnant women, immigrants, seniors, individuals with disabilities, individuals who are unstably housed, individuals in residential or institutional settings, substance users in and out of treatment, and persons who are gay, lesbian, transgender or bisexual).

- Raise the issue of domestic violence risk associated with notifying partners.

- Keep questions simple and specific. Avoid jargon such as "domestic violence" and "victim".

### Suggested script:

"There are some routine questions that I ask all my patients because some of them are in relationships where they are afraid their partners may hurt them."

#### Provide assurances that:

Any information provided will be kept strictly confidential and be used only to help make decisions about whether partner notification should proceed and to offer referrals for domestic violence services.

In no cases are names of HIV-infected individuals provided to partners, or others, by public health staff.

- Respond to questions about the process.

- Review the benefits of partner notification.

- Request that the individual consider partner notification.

2.	Screen for risk of domestic violence separately for each partner to be notified (i.e., on a partner-by-partner basis)

Assess domestic violence risk to the HIV-infected individual

- Screen for risk on a partner-by-partner basis for any partners voluntarily identified and for any partners who are already known to the provider (e.g., spouse). Note: The name or other information about the infected individual is never disclosed during partner notification,

- Use simple screening questions.

### Suggested script:

"What response would you anticipate from this partner if he/she were notified of possible exposure to HIV?"

Follow-up questions can be used to explore any indication of a history of domestic violence or anticipated consequences of HIV partner notification.

"Have you ever felt afraid of your partner or ex-partner?

"Has a partner or ex-partner currently or ever:

- Pushed, grabbed, slapped, choked or kicked you?

- Forced you to have sex or made you do sexual things you didn't want to?

- Threatened to hurt you, your children or someone close to you?

- Stalked, followed or monitored you?

"Based on what you've just told me, do you think that the notification of this partner will have a severe negative effect on your physical health and safety, or that of your children or someone close to you?" "Are you afraid of what might happen to you or someone close to you, for example your children, if this partner were notified?"

"Have you ever been afraid about harming your partner or someone close to you?"

- Rely on the perception, if any, of the HIV-infected individual as to whether or not notification could result in domestic violence.

- Characterize the type of domestic violence (i.e., physical, sexual, economic (e.g., withholding financial support), emotional (e.g. isolation), social and/or psychological) if any.

- Explore severity of anticipated domestic violence to the HIV-infected individual.

Assess any domestic violence risks to each partner/contact

- Elicit the infected individual's knowledge of the partner's current situation, if it is known, when the partner is other than the current partner.

“If you know whether our notifying a previous partner of their possible HIV exposure might put them at risk of being harmed by, or harming, someone they are currently involved with, it is important that you tell us about it."

- Explore severity of anticipated domestic violence outcomes to the partner/contact.

3.	Provide referral(s) for domestic violence services and discuss release form

For any identified risk or potential risk of domestic violence, as broadly defined:

- Make a referral to a licensed domestic violence service provider for all cases in which a risk, threat or history of any form of domestic violence is identified. Contact the NYS Coalition Against Domestic Violence 24-hour hotlines for information on referral resources:

1-800-942-6906 (English)

1-800-942-6908 (Spanish)

- Discuss the advantages of a release form to enable communication between the provider, the domestic violence service provider and public health staff (see "Guidelines)". A signed release will enable the provider to assist the infected individual in the future by being aware of progress on domestic violence issues. Domestic violence is a medical issue, as well.

- Obtain a signed release of information form, if at all possible.

- Make determination(s) regarding HIV partner notification

- Defer partner notification any time a risk of behavior toward the HIV-infected individual may have a severe negative effect on the physical health and safety of the HIV-infected individual, his/her children, or someone who is close to them, or to a contact if identified. In all other cases partner notification should go forward. If in doubt, speak with the SHC CNAP contact.

- Discuss and implement partner notification option(s)

Move forward with action plan for HIV partner notification

- Review options and work with the client to identify the optimal partner notification strategy for each partner, following SHC Partner Counseling and Risk Reduction Assessment Process.

- Report status of partner notification and any identified risk of domestic violence to the State Health Department on the Medical Provider HIV/AIDS and Partner/Contact Report Form.

If HIV partner notification is deferred based on domestic violence, as outlined in step #4, above:

- PNAP/CNAP may contact you to discuss the nature of the domestic violence risk and steps in place to deal with it.

- Provide the HIV-infected individual for whom notification of a specific partner is deferred based on a risk of severe domestic violence with information enabling them to contact the NYS PartNer Assistance Program (PNAP) or the New York City Department of Health and Mental Hygiene (NYCDOHMH) Contact Notification Assistance Program (CNAP) at any point in the future.

- Ask the HIV-infected individual if they are willing to sign a release form for domestic violence information to enable future follow-up to determine if the domestic violence risk has been alleviated.

- Ask the HIV-infected individual whether or not he/she would consent to follow-up contact by public health staff for purposes of ascertaining the continued deferral of partner notification and how such contact can most safely be made.

- Report information that the domestic violence screen indicates a risk of severe domestic violence (i.e. partner notification may have a severe negative effect on physical health and safety) to the State Health Department by checking the appropriate box indicating a risk of domestic violence on the Medical Provider HIV/AIDS and Partner/Contact Report Form.

- Collaborate with public health partner notification staff

    - Provide any missing information not previously reported on the Medical Provider HIV/AIDS and Partner/Contact Report Form, specifically, whether or not a risk of domestic violence exists, to state or local health department partner notification staff when they initiate follow-up. This will ensure that public health staff do not initiate steps to notify the partner before posttest counseling and domestic violence screening is completed.

    - If partner notification has been deferred based upon a risk of domestic violence, communicate with public health staff when they follow-up in 30-120 days to ascertain the current status of active partner notification plans, to review the status of deferrals.

    - If partner notification has been deferred based upon a risk of domestic violence, consult with the public health officer when a decision must be made whether to proceed with partner notification when partner notification has been deferred. Local health officials, including PNAP/CNAP, must make such decisions in consultation with the protected individual, his or her physician and, when a signed release is present, the domestic violence service provider. Such consultation will maximize safety of the individual(s) while assessing when, or if, concerns about the safety of the HIV-infected individual are sufficiently allayed to permit partner notification to proceed.

  - Revisit partner notification and domestic violence risk throughout the continuum of care

- Routinely, throughout the provision of medical care and support services, remind individuals that HIV partner notification and assistance services and referrals to domestic violence service providers remain available and encourage their use throughout the continuum of care. This should be incorporated into ongoing discussion to reduce behavior that may transmit HIV to partners

- Refer HIV-infected individuals to HIV case management services which assure ongoing discussion of HIV partner notification services, including those cases in which risk of domestic violence which may have a severe negative effect on the physical health and safety of the HIV-infected individual, his/her children, someone who is close to them, or to his or her contact(s).

- Help ensure that HIV partner notification assistance services are accessed in the event that the previously identified domestic violence concerns are resolved.

  - Specimen Transfer

Specimen results will be transferred to the UHB laboratory utilizing the Transfer Results Log…and according to the current Cerner entry process.

  - Documentation of Test Results

- Requests for documentation of test results must be made in person.

- Clients must sign the HIPAA Compliant Authorization for Release of Medical Information and Confidential HIV Related Information

  - Minors

- Individuals under 18 years of age are generally referred to the Family Adolescent Children’s Experience at SUNY (FACES) program or to Health and Education Alternatives for Teens (HEAT), located on the KCHC campus.

- New York State Law does not require parental/guardian consent for HIV counseling and testing, provided that the youth is capable of understanding everything described in pre-test counseling and of signing consent.  In some circumstances (particularly when counseling and testing is provided at community-based sites and a referral to another site would likely result in an adolescent not following through on a referral) HIV counseling and testing will be provided to youth capable of understanding and signing consent.

- Counselors are expected to use careful judgment in providing antibody testing for minors in accordance with New York State laws.

- Decisions regarding testing of minors are made on a case-by-case basis in consultation with the EPAR Coordinator or the STAR Health Center Medical Director.

  - Intra-Institutional Referral

- STAR Health Center HIV counselors counsel and test outpatients referred from other University Hospital Brooklyn departments and Kings County Hospital Center.

- STAR Health Center coordinates services with SUNY UHB's Department of Epidemiology/Infection Control, which provides inpatient counseling and testing, on-site testing in other UHB Ambulatory Care areas, and testing of employees involved in a work related incident where there is possible exposure to bodily fluids.

###### Resources and Referrals

1.	The HIV counselor assess each client’s medical and psychosocial needs and make referrals, as indicated, to a variety of services such as primary care, drug treatment, support groups, long term counseling, adolescent programs, prenatal and family planning services.

- Emergency Procedures

- If a client exhibits suicidal, homicidal or threatening behavior, the counselor immediately implements the emergency protocol delineated under Assessment of Patients/High Risk Psychiatric Emergencies.

- If the client is being tested at a community based organization, the counselor will follow the emergency procedures prescribed by the host agency, which may include immediate referral to an on-site mental health worker or call to 911 for transport to the nearest mental health facility for evaluation.

- Quality Assurance

HIV Counseling and Testing activities will be integrated into the SHC Quality Assurance Plan.  Specific HIV C/T indicators will be identified and reviewed monthly as per established SHC QA Procedures.   The SHC will follow the Quality Assurance Guidelines for Testing Using the OraQuick Rapid Antibody Test produced by the CDC.  Any problems noted related to test kits or controls will be documented in the logs and reported to the Nurse Manager. All OraQuick® Logs will be reviewed by the SHC Nurse Manager weekly, and necessary corrective action documented on the logs and discussed monthly with senior staff, including the Medical Director, at the SHC Operations meeting and in the monthly QA meeting.

### Staff Training and Competency Assessment

### Training is crucial to ensuring quality HIV testing. Key components to include in training associated with HIV counseling and testing are:

- HIV counseling and testing skills (all staff performing testing must complete NYS or NYC HIV Counseling training)

- NYS Public Health Law - confidentiality, HIV reporting and partner notification

- Laboratory regulations, Part 58-8

- How to perform the test (including procedures performed before, during and after testing)

- How testing is integrated into the overall counseling and testing program

- QA program elements and documentation

- OSHA guidelines (i.e., exposure control plan of universal precautions, bio-hazard safety)

- Before an employee is permitted to perform counseling and testing on his own, his/her ability to conduct the test will be demonstrated via direct observation of the supervisor. This assessment will also be carried out at periodic intervals after training and documented through the UHB Assessment and Performance Evaluation.  The Employee Competency Checklist for the OraQuick® ADVANCE Rapid Test will be completed by the supervisor for any staff member conducting rapid HIV testing.

V.	Reason for Revision

	Changes in regulatory or statutory laws or standards

- System failures/changes

- Institutional/operational changes

VI.	Attachments:

- STAR Program Counseling and Testing Form

- NYS Department of Health Informed Consent to Perform HIV Testing

- NYS Department of Health Medical Provider HIV/AIDS and Partner/Contact Report Form

- HIPAA Compliant Authorization for Release of Medical Information and Confidential HIV Related Information

- OraQuick® Controls Temperature Log

- OraQuick® Kits Storage Temperature Log

- OraQuick® Testing Room Temperature Log

- OraQuick® Rapid Testing Checklist for Clinic Room Set Up

- OraQuick® ADVANCE Control Results Log

- OraQuick® ADVANCE Rapid Test Results Log

- Transfer Results Log

- Cerner Entry Process

- Employee Competency Checklist for the OraQuick® ADVANCE Rapid Test

- OraSure® Lab Requisition Form

VIII.	References:

- Article 27-F of the New York Public Health Law

- Emergency Amendments to Part 63 Regulations

- NYS Department of Health AIDS Institute Guide to HIV Pre-test and Post-test Counseling

- 2005 Guidance for HIV Counseling and Testing and New Laboratory Reporting Requirements

- Workbook and Implementation Guidelines for Limited Testing Sites in New York State Using the OraQuick Rapid HIV-1 Antibody Test

- NYSDOH Protocol - Domestic Violence Screening in Relation to HIV Counseling, Testing, Referral & Partner Notification

- Quality Assurance Guidelines for Testing Using the OraQuick® Rapid HIV-1 Antibody Test – Center for Disease Control

- UHB policy EPI-11 –HIV antibody testing and counseling.

- UHB policy Lab 23—Point of care testing

| Date Reviewed | Revision Required (Circle One) |  | ### Responsible Staff Name and Title |
| --- | --- | --- | --- |
| 11/05 | #### Yes | #### No |  |
|  | Yes | #### No |  |
|  | Yes | No |  |
|  | Yes | No |  |