POLICY & PROCEDURE

UNIVERSITY HOSPITAL	    Prepared by: Alix R. Laguerre                         No. LAB-23J

SUNY HEALTH SCIENCE

CENTER AT BROOKLYN	    Reviewed by: Maria I. Mendez	            Issue Date: 04/06

450 CLARKSON AVENUE

BROOKLYN, NY  11203          Approved by: Peter J. Howanitz, MD      Supersedes: None

Review Date: 04/06

DEPARTMENT OF LABORATORIES

WET MOUNTS

Principle:

Many clinical specimens may be examined directly under the bright-field microscopy for Trichomonads, fungal elements and yeast cells.  The addition of 10% KOH partially digests proteinaceous components, such as host cells, leaving fungal cell walls intact.

Reagents:

- 10% KOH (potassium hydroxide)

- Sterile, physiologic saline

Procedure:

- Direct Wet Mount:

- Place fresh clinical material on a clean glass slide and gently cover with a coverslip.  If material is too thick to read, dilute with an equal amount of sterile saline before placing on slide.

- Examine for Trichomonads (moving parasites with flagella), yeast cells and fungal elements.

- KOH Wet Mount:

- Add material to be examined to a drop of 10% aqueous KOH on a clean glass slide and cover with a coverslip.

- Allow to sit several minutes before examining.

- Examine slide for yeast and fungal elements.

Note:  Trichomonads will be destroyed by KOH.

Reporting:

- Report relative numbers of Trichomonads, yeast and fungal elements seen.

- If none are seen, report as “no yeast, fungal elements or protozoa seen”.

References:

Finegold, S. and Baron, E., Bailey and Scott’s Diagnostic Microbiology, C.V. Mosby Co., St. Louis, Missouri, 7th Edition.