SUNY DOWNSTATE MEDICAL CENTER

UNIVERSITY HOSPITAL OF BROOKLYN

POLICY AND PROCEDURE

No:  Section 15H

Page 1 of 1

# Subject: Care and Use of

# Thermometers			Original Issue date: 1978

Prepared by:  George Allen, Ph.D., CIC		Supercedes: August 2006

Reviewed/Approved by:				Approval Date: August 2007

Michael Augenbraun, MD, FACP

Distribution:	Infection Control Manual

Issued by:  Infection Control Program

___________________________________________________________________________

I:	Purpose: To provide guidelines for preventing the transmission of infections during use of 	thermometers.

II:	Definition: None

III:	Policy: Universal/Standard precautions shall be utilized by all staff during temperature 	determinations.

IV:	Role Responsibility: Department head/designee will ensure compliance

V:	Procedures/Guidelines: Disposable thermometers are the preferred method for routine

temperature determinations by the oral, axillary and/or rectal routes. Electronic thermometers

may be used only for oral temperatures.  A fresh disposable probe cover must be used for each

patient. Temperature by the tympanic membrane method is an acceptable alternative.

VI:	Reason for Revision: Review

VII:	Attachments: None

VIII:	References: CDC, APIC

| Date Reviewed | Revision Required (Check One) |  | Responsible Staff Name and Title |
| --- | --- | --- | --- |
| 8/07 | Yes | Yes | George Allen, Ph.D. Dir. of Infection Control |
|  | Yes | Yes |  |
|  | Yes | Yes |  |
|  | Yes | Yes |  |