POLICY & PROCEDURE

UNIVERSITY HOSPITAL	Prepared by:   Stephen Kitynsky     	   	No.  LAB-32

SUNY HEALTH SCIENCE

CENTER AT BROOKLYN	Reviewed by: Dynesdal Wint 		Issue Date: 11/04

450 CLARKSON AVENUE			    Alix R. Laguerre

BROOKLYN, NY  11203	Approved by: Anthony Nicastri, MD        Supersedes: 11/07

Peter J. Howanitz, MD	Review Date: 10/08

SUBJECT: PROCEDURE FOR ACCESSING LIS COPATH

POLICY:

All clinicians (i.e. authorized non-Anatomical Pathology personnel) at SUNY-DMC-UH) may access the Dynamics CoPath L.I.S. system.  The person should have access to a PC loaded with the CoPath-Plus L.I.S. (Live CoPath).  At present, CoPath and Cerner are two separate and independent systems.

The hospital personnel should come to the Anatomical Pathology Office (UH, A2-466) to obtain a CoPath User ID and Password.

Clinicians’ access is limited to:

- Clinician Inquiry (for a patient)

- Print Patient Reports (Final, Addendum, and/or Additional Procedures)

- Password Changes (change your own password at anytime).

PROCEDURE:

- Logon to CoPath using your User ID and Password. The following window will appear.

B. If you choose to access the Clinician Inquiry

- Select the Inquiry, Clinician on your menu

(on left side of Application Manger).

  - The following window will appear:

  - You may find the patient you are interested in by entering one of the following in the same designated area:

.

    - Patient Name (Last Name, First Name)  -or-

    - Medical Record Number (MPN)

- Depending what was entered one or multiple cases will appear.

- Select (scroll to) the patient you are interested in.

- Click the OK button.

- A list of cases associated with the selected patient will appear.

- Select (scroll to) the case you are interested in.

- Click the OK button.

- The following information will appear.

C. If you want to print the full report on the patient, you must have a laser printer at the PC location.



Select this icon to print the report you want.

- Select to print the Final Report. Click Print/Send

- From the Print/Send Setup window, select the correct printer code to print to the printer you want.

- CoPath will alert you that the print job has been sent to the printer and return when finished.

- You may return to the main window setting by clicking the X box (at the upper most right corner).

- You may exit CoPath by clicking the X box (at the upper most right corner) and answer the pop-up message request.

Signature of Supervisor: ______________________________     Date: _________________