POLICY & PROCEDURE

UNIVERSITY HOSPITAL	 Prepared by: Alix R. Laguerre	            No.  LAB-35

SUNY HEALTH SCIENCE

CENTER AT BROOKLYN	Reviewed by: Maria I. Mendez		  Issue Date: 04/06

450 CLARKSON AVENUE

BROOKLYN, NY 11203	 Approved by: Peter J. Howanitz, MD    	  Supersedes: 11/07

Review Date: 10/08

DEPARTMENT OF PATHOLOGY

___________________________________________________________________________

SUBJECT:  DOCUMENT CONTROL SYSTEM					 PAGE: 1 of 3

___________________________________________________________________________

PURPOSE:

Provide a document control system to comply with Regulatory Agency Standards.

POLICY:

- Policies and Procedures are approved by the Laboratory Director or designee before the implementation of a procedure.

- Policies and Procedures are reviewed annually by the Laboratory Director or designee and revised as necessary.

- Discontinued Policies and Procedures are removed from manuals and stored for a minimum of 2 years after the date of discontinuation.

- Laboratory performance improvement records are maintained under the document control system.

- POLICIES AND PROCEDURES:

Polices and Procedures are maintained in three categories:

      - Hospital-wide Policies are available on the SUNY Downstate Intranet and the originals are maintained by the Department of Regulatory Affairs.  www.uhb.org/pnp

      - Departmental Policies for the Clinical and Anatomical labs are available on the SUNY Downstate Intranet and originals with signatures are maintained in Lab Administration. www.uhb.org/pnp/lab/p&p.asp  (See Attachment A: Policies and Procedures).  These are reviewed annually by the Lab Director.

      - Laboratory section Procedures are reviewed annually by the laboratory director or designee and are maintained as hard copies in the Laboratory section.

- PROFICIENCY TESTING RECORDS:

      - Reports from the New York State Department of Health (Clinical Laboratory Improvement Program) and the College of American Pathologists (CAP) are received and date stamped in the Laboratory Administration office.

      - Reports are screened by Laboratory Administration and copies of a less than 100% successful survey are addressed to the lab section supervisor or designee.

      - Lab section supervisor completes Survey Exception Review Form (SER) for review and approval, within 10 days of date initially stamped as received.

      - All reports are reviewed and approved by the Laboratory Director or designee.

      - Report copies are approved by the Laboratory Director and addressed to the lab sections and the Pathology resident on rotation as tools for education.

      - If required, a response is submitted to the appropriate regulatory tester within 10 days of the stamped received date.

      - The original SER, approved by the Laboratory Director, is numbered and filed in the Laboratory Administration office and copies are provided to the Pathology P.I. committee and the responsible Laboratory Section Supervisor.

- INCIDENT/ACTION REPORTS:

      - An Incident / Action report (Attachment B: Incident / Action Form) is generated as a summary of an investigation, including the corrective action taken within five days of the incident.

      - Completed Reports are reviewed and approved by the laboratory director.

      - Reports are coded according to Laboratory sections and logged for tracking.  (Attachment C: Laboratory Tracking Codes)

      - Report copies are provided to the Pathology P. I. Committee and the responsible Hospital Department for review and corrective action.

      - Responsible Departments / Services are expected to provide responses within 14 days when requested.  An incomplete response is forwarded to the Quality Management Department for follow-up if a response is not received from the applicable Department within 30 days of the date of the Incident Report.

- PERFORMANCE IMPROVEMENT DOCUMENT:

      - Reports are submitted to the Pathology P. I. Committee and laboratory sections present to the committee on a scheduled basis.

      - Laboratory indicators are presented to the Executive Performance Improvement Council (EPIC) quarterly, by the Laboratory Director.

- REFERENCE LABORATORIES:

CLIA Laboratory permits for reference laboratories utilized by UHB are reviewed annually by the Laboratory Administrator and updated permits are requested in writing if the current is outdated.

- PRODUCT RECALLS AND ALERTS:

All products recalled by the manufacturer or any regulatory agency should be removed from use or corrected within 24 hours.

- Laboratory related notices, recalls or alerts received in Laboratory Administration are date stamped and copies distributed to appropriate supervisory personnel and the Laboratory Safety Officer.

- The Laboratory Section Supervisor or designee review the notice in conjunction with inventory records (i.e., reagent lot number, see number)

- The Supervisor prepares an Action Report reflecting the findings of the investigation if corrective action is applicable and submits the report to Laboratory Administrator.

- The Laboratory Administrator provides a copy to the Institution’s Risk Manager and the Pathology Performance Improvement Committee.

- RECORDS AND FORMS:

- Laboratory test results are stored indefinitely in the Laboratory Information Systems, CERNER and Co-Path for Clinical and Anatomical Pathology, respectively.

- QC Accession Log, Maintenance/Instrument Maintenance Records are maintained by the individual Laboratory sections for a minimum of 2 years.

- Laboratory reports for each procedure are reviewed annually by the Laboratory Director or designee and maintained in the LIS office.

- Off-site storage is contractually available to store records in accordance with the timeliness established in the Regulatory Standards (See attached).

- List of approved Interdepartmental Forms initiated by the Department of Pathology. (Attachment D)

- REFERENCE:

CAP  GEN.20100, GEN.20208, GEN.20372, GEN.20373; GEN.10000, GEN.10500

LAB/ LAB 9, LAB 10, LAB 12, LAB 14, LAB 8

Attachment A:

RETENTION OF LABORATORY RECORDS AND MATERIALS

The College of American Pathologists makes the following recommendations for the minimum requirements for the retention of laboratory records and materials.  They meet or exceed the regulatory requirements specified in the Clinical Laboratory Improvement Amendments of 1988 (CLIA-88).  The College of American Pathologists urges laboratories to retain records and/or materials for a longer period of time than specified when such would be appropriate for patient care, education or quality improvement needs.  Some state regulations as well as other federal mandates may require retention of records and/or materials for a longer time period than that specified in the CLIA-88 regulations; therefore any applicable state or federal laws should be reviewed carefully when individual laboratories develop their records retention policies.

| MATERIALS/RECORD | PERIOD OF RETENTION |  |
| --- | --- | --- |
| General Laboratory Accession log records Maintenance/instrument maintenance Quality control records | 2 years 2 years 2 years |  |
| Surgical Pathology (including bone marrows) |  |  |
| Wet tissue Paraffin blocks Slides Reports | 2 weeks after final report 10 years 10 years 10 years |  |
| Cytology Slides (negative-unsatisfactory) Slides (suspicious-positive) Fine needle aspiration slides Reports | 5 years 5 years 10 years 10 years |  |
| Non-Forensic Autopsy Records Wet tissue Paraffin blocks Slides Reports | 3 months after final report 10 years 10 years 10 years |  |
| Forensic Autopsy Records Wet stock tissue Paraffin blocks Reports Slides Gross photographs/negatives Accession log records Body fluids and tissues for toxicology Dried blood stain or frozen tissues for DNA | 3 years Indefinitely Indefinitely Indefinitely Indefinitely Indefinitely 1 year Indefinitely |  |

| Clinical Pathology Records Patient test records Serum/CSF/Body fluids (except urine) Urine Peripheral blood smears/body fluids smears Permanently stained slides – microbiology (gram, trichrome, etc) | 2 years 48 hours 24 hours 7 days 7 days |
| --- | --- |
| Cytogenetics Records Slides Wet specimens/tissue Fixed cell pellet Final reports Diagnostic images (digitized or negatives) | 3 years Until adequate metaphase Cells are obtained 2 weeks after final report 20 years 20 years |
| Blood Bank Donor Patient records Records of employee signatures, initials, and identification codes Quality control records Records of indefinitely deferred donors, permanently deferred donors, or donors placed under surveillance for the recipient’s protection (e.g., those donors that are Hepatitis B Core positive once, donors implicated in a hepatitis positive recipient) Specimens from blood donors units and recipients | 10 years 10 years 10 years 5 years Indefinitely 7 days post-transfusion |
| Adopted 8/95 Revised 9/95 Reaffirmed 11/00 Revised 11/01 |  |

| Summary of Regulations |  |  |  |
| --- | --- | --- | --- |
| MATERIAL/RECORD | CLIA | CAP | JCAHO |
| Laboratory service requests, surgical pathology requests, Cytology requests and other laboratory test ordering documents. | 2 years Medicare 6 years (42CFR1003 132) | 2 years | 2 years |
| Records of specimens received, tests, including identification of the patient, name of the submitter, dates of receipt and report; type of test performed; and test results, including instrument printouts and original test report or exact duplicate. | 2 years | 2 years | 2 years |
| Bone Marrow – reports and smears. |  | 10 years |  |
| Records of inspection, validation, calibration, repair, and replacement to ensure proper maintenance and operation of equipment and proper reactivity of test materials. | 2 years | 2 years | 2 years |
| Procedure manuals, card files, flow charts | 2 years | 2 years | 2 years |
| Records of quality control procedures in use in the various technical areas of the laboratory, including results on standards and reference materials, and action limits, when appropriate | 2 years | 2 years | 2 years |
| Blood-bank records; donor and recipient records; records of employee signatures, initials, and identification |  | 10 years |  |
| Cytology slides – negative and unsatisfactory | 5 years | 5 years | 5 years |
| Cytology slides – positive and suspicious | 5 years | 5 years | 5 years |
| Histopathology slides and fine-need aspiration slides | 10 years | 10 years | 10 years |
| Blood films, permanently stained body fluid slides, and microbiology slides |  | 7 days |  |
| Serum/cerebrospinal fluid/body fluids |  | 24 hours |  |
| Specimens from blood-bank donors and recipients | 7 days post-transfusion or 10 days post-crossmatch | 7 days post-transfusion |  |
| Specimen blocks | 2 years | 10 years | 2 years |
| Wet-tissue specimen | Until diagnosis | 2 weeks after final report |  |
| Autopsy wet tissue |  | 3 months after final report |  |
| Surgical pathology accession log |  | 2 years |  |
| Pathology reports | 10 years | 10 years | 10 years |
| Cytology reports | 10 years | 10 years | 10 years |
| Cytology records indicating the daily accession of specimens, each of which is numbered, and an appropriate cross-filing system according to the patient’s name |  | 2 years |  |
| Histologic or clinical confirmation of cytology findings on abnormal cases and false-negative and false-positive results for each category of specimens, when such results are made available. | 10 years | 10 years | 10 years |
| Proficiency-testing records | 2 years | 2 years | 2 years |
| Immunohematology records, quality control, and test reports | 5 years | 5 years | 5 years |
| Quality-assurance records | 2 years | 2 years |  |
| Table provided by Robert Nakamura, MD, and the Quality Control staff at Scripts Clinic Laboratory |  |  |  |

## Attachment B:

## CONFIDENTIAL FOR QA PURPOSES P-L 2805 J-M University Hospital of Brooklyn, 450 Clarkson Ave, Brooklyn N.Y 11203

|  |  |  |  |  | No. |  |
| --- | --- | --- | --- | --- | --- | --- |
| UNIVERSITY HOSPITAL OF BROOKLYN INCIDENT REPORT :  LABORATORY  RADIOLOGY |  |  |  |  |  |  |

AN INCIDENT IS AN EVENT NOT CONSISTENT WITH THE DESIRED OPERATION OF THIS FACILITY, OR THE CARE OF PATIENTS

INSTRUCTIONS

| - This form must be completed and forwarded within 24 hours. | - Write brief description of incident (See space below) |
| --- | --- |
| - Check box next to type of incident. | - Describe patient’s condition before and after the incident (See below) |

| DATE OF INCIDENT |  |  |  |  |  | TIME: AM / PM |  | PREPARED BY: |  |  |  |  |  |  |  |  | LOCATION: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GENERAL. INCIDENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Wrong Encounter |  |  |  |  |  |  | - Lost Specimen |  |  |  |  |  |  |  |  |  | - Patient Incident |  |
| - Wrong Patient |  |  |  |  |  |  | - Medical Record Number Error |  |  |  |  |  |  |  |  |  | - Inability to Report Critical Values |  |
| - Equipment Malfunction |  |  |  |  |  |  | - Unlabelled Specimen |  |  |  |  |  |  |  |  |  | - Lab Management |  |
| - Physical Plant Failure |  |  |  |  |  |  | - Mislabeled Specimen |  |  |  |  |  |  |  |  |  | - Other |  |
| PLACE PATIENT LABEL HERE OR FILL IN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - Sections Affected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | PATIENT: |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DOCTOR: |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | MR#: |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DOB: |  |  |  |  |  |
| ACTION TAKEN: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OUTCOME: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESPONSE FROM SERVICE/DEPARTMENT: (Response to this issue is expected within 14 days of the report origination date) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Responder Name: |  |  |  |  |  |  |  |  |  |  | Approved by: |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  |  |  | Signature: |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  | Director: |  |  |  |  |  |  |  |

Attachment C:

PATHOLOGY- CLINICAL LABORATORIES

INCIDENT REPORT NEW CODING SYSTEM

The numbering system assigned is as follows:

2 digit – Month, followed by 2 digit – Year, followed by numbers assigned in order of receipt, followed by section code.

The assigned numbers will continue in numerical order until the end of the calendar year.  i.e., 060501-HM …………….. 120599-LS

Other examples shown below:

| Month of Incident Report and the Originating Laboratory | Month | Year | No. | Section Code | Inc. Report Code No. |
| --- | --- | --- | --- | --- | --- |
| Hematology - June 26th, 2005 | 06 | 05 | 01 | HM | 060501-HM |
| LIS - June 20th, 2005 | 06 | 05 | 02 | LS | 060502-LS |
| Chemistry – July 10th, 2005 | 07 | 05 | 03 | CH | 070503-CH |
| OPD - September 5th, 2005 | 09 | 05 | 04 | OP | 090504-OP |
| Venipuncture - August 1st, 2005 | 08 | 05 | 05 | VP | 080505-VP |
| Virology - October 2nd, 2005 | 10 | 05 | 06 | CY | 100506-VR |
| Surgical Path - January 5th, 05 | 01 | 05 | 07 | SP | 010507-SP |
| Flow Cytometry - May 1st, 2005 | 05 | 05 | 08 | FC | 050508-FC |
| Microbiology - July 20th, 2005 | 07 | 05 | 09 | MB | 070509-MB |
| POC - November 13th, 2005 | 11 | 05 | 10 | PC | 110510-PC |
| Central Access. - May 2nd, 2005 | 05 | 05 | 11 | CA | 050511-CA |
| Blood Bank - July 12th, 2005 | 07 | 05 | 12 | BB | 070512-BB |
| Lab Administration - May 10th | 05 | 05 | 10 | LA | 050510-LA |
| Morgue – December 24th, 2005 | 12 | 05 | 11 | MG | 120511-MG |
| Anatomic Pathology- May 1, 05 | 05 | 05 | 12 | AP | 050512-AP |
| Admin. Pathology-May 1, 2005 | 05 | 05 | 13 | AM | 050513-AM |