POLICY & PROCEDURE

UNIVERSITY HOSPITAL	 Prepared by: A. R. Laguerre		  	         No.  LAB-6

SUNY HEALTH SCIENCE

CENTER AT BROOKLYN	 Reviewed by: M. I. Mendez				Issue Date: 5/95

450 CLARKSON AVENUE

BROOKLYN, NY 11203	 Approved by: P. J. Howanitz, MD   	  	Supersedes: 11/07

Review Date 10/08

DEPARTMENT OF LABORATORIES

_____________________________________________________________________________

SUBJECT:    TEST PERFORMANCE ASSESSMENT			 	    PAGE: 1 of 1

____________________________________________________________________________

PURPOSE:	To determine accuracy and reliability of analytic results on patient samples for which no external proficiency testing is offered.

POLICY:		Laboratory analyses for which no external proficiency is offered will be assessed at least semi annually for accuracy and reliability by performing split sampling with a reference laboratory and/or inter-laboratory split sampling.

Criteria for unacceptable results will be defined in each laboratory section.  Results will be documented and reviewed.  Action taken for unacceptable results will be documented.

Results will be documented and reviewed.  Action taken for unacceptable results will be documented.

Test with no external proficiency testing:

HEMATOLOGY						BLOOD BANK

Urea Solubility						Elution

Heinz Body Stain						Fetal Screen

LAP									Titrations

LE Latex

Cryoblobulin

Cryofibrinogen

G6PD Screen							CHEMISTRY

Urine for Myoblobin					CH50

Urine for Hemosiderin