POLICY & PROCEDURE

UNIVERSITY HOSPITAL	Prepared by: Dynsdale Wint      	   	No.  LAB-8

SUNY HEALTH SCIENCE

CENTER AT BROOKLYN	Reviewed by: M. I. Mendez 			Issue Date: 01/02

450 CLARKSON AVENUE			    A. R. Laguerre			Supersedes Date: 11/07

BROOKLYN, NY  11203	Approved by: P. J. Howanitz, MD   	Review Date: 10/08

SUBJECT: System for Detection of Data Transferring/Transcription Errors in

Laboratory Information System (LIS)

Policy:

To detect and correct data transferring errors generated from automated instruments and/or data transcription errors from manual workstations in the Laboratory Information System.

Procedure:

- Periodically, the supervisor or assistant supervisor for each laboratory will review results entered into the Laboratory Information System as defined in the laboratory section policy.

(See each laboratory policy and procedure)

- The selection of results to be reviewed will be made on a random basis as per laboratory section.

- The results written on the worksheet for each manual workstation will be reviewed and compared with the results verified in the LIS system for data transcription errors.

- The results printed from each instrument will be reviewed and compared with the results verified in the LIS system for data transferring errors.

- The supervisor or assistant supervisor for each laboratory will verify the reviewed results by initiating the worksheets and instrument printouts.

- Discrepancies will be documented in an Action Report.

- A copy of all Action Report will be sent to the laboratory QA/PI committee.

- A new corrected report will be generated and forwarded t the patient’s chart immediately.

- All other areas of reporting will be notified.

- The patient’s cumulative report will show the corrected result.

- The physician in charge will be notified of the corrective action.