SUNY DOWNSTATE MEDICAL CENTER

UNIVERSITY HOSPITAL OF BROOKLYN

POLICY AND PROCEDURE

No:  Section 16Y

Page 1 of 2

Subject: GUIDELINES FOR INFECTION

CONTROL IN THE GASTROINTESTINAL

EXAM UNIT		Original Issue date: 1984

Prepared by:  George Allen, Ph.D., CIC		Supercedes: June 2003

Reviewed/Approved by:				Approval Date: April 2007

Michael Augenbraun, MD, FACP

Distribution:	Infection Control Manual

Issued by:  Infection Control Program

___________________________________________________________________________

I:	Purpose: To provide guidelines to prevent the transmission of infections in patients 	undergoing gastrointestinal examination procedures.

II:	Definition: None

III:	Policy: All patients will be cared for using universal/standard precautions and with endoscopic 	equipment which, at a minimum, have been subjected to a high level disinfection process.

IV:	Role Responsibility: Department head/designee/ Chief, G.I Section/G.I Nurse/Technician will 	ensure compliance

V:	Procedures/Guidelines:

Patients

Nursing units shall notify the G.I. unit of any patient on isolation/precautions. Appropriate levels

of isolation shall be maintained in the unit, according to infection control guidelines.

Personnel

Personnel shall comply with pre-employment annual health exam requirement and procedures

outlined in the ICM, see employee Health Service polices. Shall wash hands between each

patient. The use of the waterless alcohol based product is acceptable if hands are not visibly

soiled (ICM 15 D).

Visitors

Casual visitors shall not be permitted in the GI unit.

Housekeeping

The area shall be maintained in a sanitary condition free from the accumulation of dirt. Sinks,

floors and walls are to be cleaned daily. The exam table shall be stripped and cleaned between

patients.

Equipment

Routine cleaning and disinfection methods of the flexible fiber optic endoscope as outlined in

the ICM Policy Procedure for cleaning and disinfection of flexible fiber optic endoscopes (FFE)

must be followed.

Universal Standard Precautions

All health care workers should routinely use appropriate barrier precautions with all patients.

Controls on the System

Scopes should be randomly cultured and documented to ensure the efficacy of the disinfection

process.

VI:	Reason for Revision: Review

VII:	Attachments: None

VIII:	References: CDC, APIC

| Date Reviewed | Revision Required (Check One) |  | Responsible Staff Name and Title |
| --- | --- | --- | --- |
| 4/07 | Yes |  | George Allen, Ph.D. Dir. of Infection Control |
|  | Yes | Yes |  |
|  | Yes | Yes |  |
|  | Yes | Yes |  |